## Slide 1
IDEA SUBMISSION / HACKATHON
PureSense
AI-Powered Multisensor Food Authenticity Screening Device
A portable first-line screening device that detects unusual physical signatures and recommends laboratory verification.
SCREEN, DON’T CERTIFY
PureSense / AI Food-Adulteration Fingerprint Detector
01

## Slide 2
01 / THE PROBLEM
Food can look normal. That is the problem.
Consumers and field inspectors often lack a rapid, low-cost way to assess suspicious samples before laboratory testing.
CONSUMERS
Appearance alone cannot reliably reveal adulteration.
FIELD INSPECTORS
Need fast preliminary signals at the point of inspection.
THE GAP
Labs are authoritative, but not always practical for rapid screening.
PureSense / AI Food-Adulteration Fingerprint Detector
02

## Slide 3
02 / THE GAP
From suspected food to verified answer.
Existing path
sample → send to lab → wait → result
Proposed path
sample → PureSense → 10–30 sec → screen → verify if needed
FIRST SCREENING LAYER
PureSense / AI Food-Adulteration Fingerprint Detector
03

## Slide 4
03 / WHAT WE WILL BUILD
A small physical device with a controlled sample chamber.
PURESENSE
SAMPLE CUP
↑ SENSOR ARRAY ↑
ESP32
OLED / Wi-Fi
CONTROLLED
Repeatable geometry, sample volume, illumination and timing.
MODULAR
Start with the signals that prove useful. Drop the rest.
PureSense / AI Food-Adulteration Fingerprint Detector
04

## Slide 5
04 / SENSOR ARCHITECTURE
Measure multiple physical properties. Let the data decide what matters.
OPTICAL
LED + photodiode / RGB intensity, ratios, response
ELECTRICAL
Conductivity / impedance resistance, magnitude, phase
THERMAL
Controlled heat response rate, stabilization time, ΔT
Candidate modalities, not promises. First task: test sensitivity and repeatability.
PureSense / AI Food-Adulteration Fingerprint Detector
05

## Slide 6
05 / WHY MULTISENSOR AI
One sensor says “maybe.” Fusion makes the pattern clearer.
OPTICAL
ELECTRICAL
THERMAL
AI SENSOR FUSION
ANOMALY SCORE
The output is a multidimensional “physical fingerprint,” not a single threshold.
PureSense / AI Food-Adulteration Fingerprint Detector
06

## Slide 7
06 / AI PIPELINE
Start simple. Validate first. Increase complexity only if the data earns it.
RAW MEASUREMENTS
CLEAN + NORMALIZE
FEATURE EXTRACTION
RANDOM FOREST / SVM
ANOMALY + CONFIDENCE
Numerical sensor data → traditional ML is the right first move. Neural models come later, if the dataset supports them.
PureSense / AI Food-Adulteration Fingerprint Detector
07

## Slide 8
07 / PHYSICAL FINGERPRINT
A fingerprint is a vector, not a verdict.
REFERENCE-LIKE SAMPLE
Optical 0.71 Conductivity 1.32 Capacitance 0.46 Temperature 28.4°C Response 4.2 s
NEW SAMPLE
Optical 0.84 Conductivity 1.71 Capacitance 0.59 Temperature 28.3°C Response 3.1 s
AI asks: does this combination fall inside the learned reference region?
PureSense / AI Food-Adulteration Fingerprint Detector
08

## Slide 9
08 / OUTPUT DESIGN
Never show “pure” or “fake.” Show evidence and next action.
PURESENSE / SAMPLE ANALYSIS
82%
ANOMALY SCORE
SUSPICIOUS
AI confidence 91% Recommendation: Send for laboratory verification
Three states: reference-like · uncertain · suspicious
Thresholds should be learned from validation data, not invented for the demo.
PureSense / AI Food-Adulteration Fingerprint Detector
09

## Slide 10
09 / DATA + VALIDATION
Credibility comes from controlled, repeatable measurements.
1 / REFERENCE
Collect repeated readings from genuine samples across sessions.
2 / CONTROLLED TEST
Create known test levels and record labels, conditions and timing.
3 / VALIDATE HONESTLY
Separate training/test data. Report false positives, false negatives and uncertainty.
Dataset fields: sample ID · food type · sensor readings · environmental conditions · label · timestamp
PureSense / AI Food-Adulteration Fingerprint Detector
10

## Slide 11
10 / LIVE HACKATHON DEMO
Two samples. One honest test.
A
Reference sample
→ REFERENCE-LIKE
B
Controlled test sample
→ SUSPICIOUS
LIVE DASHBOARD
sensor bars + anomaly score + next action
The device is a screening alert, not a laboratory certification.
PureSense / AI Food-Adulteration Fingerprint Detector
11

## Slide 12
11 / SCOPE + IMPACT
A focused MVP can grow into a food-quality platform.
VERSION 1
One food + one controlled scenario
VERSION 2
Milk → oil → honey → spices
USERS
Inspectors · retailers manufacturers · supply chains
The long-term value is a database of sensor fingerprints across products, suppliers, locations and batches.
PureSense / AI Food-Adulteration Fingerprint Detector
12

## Slide 13
12 / THE NEXT TECHNICAL DECISION
Don’t start with the ESP32. Start with evidence.
01
Choose target food
Design around measurements, not guesses.
PureSense / AI Food-Adulteration Fingerprint Detector
13
02
Choose adulteration scenario
Design around measurements, not guesses.
PureSense / AI Food-Adulteration Fingerprint Detector
13
03
Test sensor modalities
Design around measurements, not guesses.
PureSense / AI Food-Adulteration Fingerprint Detector
13
04
Select useful signals
Design around measurements, not guesses.
PureSense / AI Food-Adulteration Fingerprint Detector
13
05
Train baseline AI
Design around measurements, not guesses.
PureSense / AI Food-Adulteration Fingerprint Detector
13
06
Integrate hardware + UI
Design around measurements, not guesses.
PureSense / AI Food-Adulteration Fingerprint Detector
13

## Slide 14
THE PROPOSAL
PureSense proposes a low-cost, portable multisensor platform that combines optical, electrical and thermal measurements with AI-based sensor fusion to rapidly screen food samples for anomalous physical signatures.
Sense the sample. Learn the fingerprint. Flag the anomaly.
Laboratory verification when required.
PureSense / AI Food-Adulteration Fingerprint Detector
14